2026 Energy Audit St. James Episcopal Church

For the year 2025

Submitted to the Vestry  June, 2026

History

In December, 2022, the St James Creation Care Committee authorized the first Energy Audit following the format suggested by the Diocese Creation Care Committee.  The 2023 Report divided St. James into the following areas: the Sanctuary, the Guild Hall, Classrooms and Meeting Spaces (Upstairs), Kitchen/Food Service Areas, the Undercroft, and the Exterior of the Church.  The systems inspected were:  Lighting, Heating and Cooling, Water Use and Water Heating, Kitchen/Food Service, Business Operations, and Safety.  We noted improvements made in years past as well as suggestions for future work based on our observations.

The 2024 and 2025 Energy Audits were completed in April and presented to the Vestry and included significant updates.  The updates included:

  - The installation of a new boiler

  - Installation of a variable frequency drive in the Guild Hall

  - Carbon monoxide detectors in the Guild Hall

  - The recognition of the water savings by having volunteers do spot watering instead of using the sprinkler system on the Yale side of the church

  - All lights, apart from those in the upstairs rooms and the Guild Hall, have been changed to LED.

  - Weather stripping: Repairs made on the doors when time is available. Weatherstripping is installed after repairs are made.

  - Motion sensitive lights were installed in high traffic areas and do not depend on faulty memories to turn off lights and waste energy.  While these lights have reduced our energy usage, on occasion they must be reset to continue to work as designed.

2025 Updates

- The upgrade to LED lighting in the Guild Hall is complete. The upgrade to remote switches in the Hall was completed 3-4 years ago.

- The office and copy room were converted to LED.

- The parking lot was converted to LED lighting.

- The Creation Care team continues to replace dying landscaping with native plants reducing the amount of water needed.

Upgrades and Improvements needed:

LED lights in the nursery

Eventually LED lights will be installed upstairs but a drop ceiling must be installed in part of the classroom

Weatherstripping in the Rector’s office, St Francis Garden exit, Tower room door and the Stage door are priorities

Add additional security cameras. This would not increase our energy efficiency and may result in more energy usage.  There are doors that are currently not monitored.  With increased usage of the church, this may be necessary.

A new chiller: Danny does not recommend its purchase until necessary. The chiller will need close monitoring. The energy savings currently would not offset the cost of the chiller. Newer technology may increase energy savings.

Wish List

The installation of a tankless water heater may save a significant amount of gas usage.  The water heater currently in use was intended for the dishwasher.  According to Danny, a booster on the dishwasher would be able to do the same job and alleviate the need to keep water heated 24/7 in the large tank when heated water on demand might be more cost efficient.

The graphs on the following pages are comparisons of electric and gas usage in 2019, 2022, 2023, 2024 and 2025. Consideration must be given to the temperature fluctuation in each of these years as well as church activity. Thanks to Suzi Stallings for providing this data.

While the Creation Care Committee believes that an annual report is no longer necessary and recommends that a report on even numbered years would provide valuable data while keeping energy conservation as an important consideration in decision-making for our church.  It is our hope that we can conserve our natural resources while increasing our church activities for all age levels, having more members engaged in conservation, and connecting our members with one another.

The Creation Care Committee commends the work of Junior Warden Danny Blair, in keeping the church’s systems running and planning for the future.

Respectfully submitted,

Creation Care Committee

Claudette Johns and Joan Bledsoe, co-chairs

|  | 2019 | 2022 | 2023 | 2024 | 2025 |
| --- | --- | --- | --- | --- | --- |
| Jan | 248 | 163 | 216 | 112 | 103 |
| Feb | 214 | 174 | 152 | 144 | 164 |
| Mar | 222 | 140 | 125 | 181 | 153 |
| Apr | 73 | 103 | 74 | 76 | 140 |
| May | 61 | 38 | 23 | 45 | 38 |
| June | 28 | 23 | 11 | 14 | 21 |
| July | 4 | 5 | 6 | 8 | 10 |
| Aug | 3 | 3 | 2 | 3 | 4 |
| Sept | 4 | 4 | 1 | 2 | 4 |
| Oct | 16 | 13 | 1 | 5 | 7 |
| Nov | 110 | 37 | 45 | 7 | 7 |
| Dec | 268 | 130 | 112 | 18 | 27 |
|  | 2019 | 2022 | 2023 | 2024 | 2025 |
| Jan | 22,660 | 14,193 | 10,081 | 9,585 | 9,911 |
| Feb | 15,458 | 13,732 | 11,271 | 9,135 | 9,503 |
| Mar | 17,174 | 13,677 | 9,502 | 8,305 | 9,971 |
| Apr | 14,286 | 13,846 | 8,236 | 8,636 | 10,319 |
| May | 16,505 | 14,481 | 8,490 | 9,881 | 11,338 |
| June | 19,689 | 18,679 | 12,550 | 14,728 | 12,978 |
| July | 30,827 | 25,263 | 16,203 | 19,818 | 21,793 |
| Aug | 32,952 | 24,815 | 20,004 | 21,473 | 24,781 |
| Sept | 28,702 | 19,645 | 21,027 | 17,771 | 17,178 |
| Oct | 24,793 | 14,664 | 12,498 | 14,153 | 16,033 |
| Nov | 23,986 | 11,049 | 9,114 | 9,427 | 10,615 |
| Dec | 29,192 | 9,518 | 10,000 | 9,725 | 9,717 |